# CEMLINE CORPORATION

TANK SPECIFICATION

Cemline Steel Tank shall be furnished. Tank shall be ASME Code constructed and stamped in accordance with Section VIII of the ASME Code. Tank shall be registered with the National Board of Boiler and Pressure Vessel Inspectors and a certificate of shop inspection shall be furnished.  All tanks 42" and over shall be furnished with a 12" x 16" manhole. Tank shall be furnished with all openings as shown on drawing.

Tank shall be Model ________.

Tank dimensions ____" diameter x ______” length

_______ Gallon Capacity.

ASME working pressure shall be 125 psi.

Material of construction shall be (Carbon Steel) (316 or 304  Stainless Steel) (Galvanized).